The Mock Well: Constructing a Solar-Powered Water Pumping Demonstration Project

Introduction

Energy from the sun is an abundant resource and its availability for use in arid regions make it a practical solution for use in providing power for water pumping applications (Mendori, 1978). One of the most popular uses of solar-powered water pumping systems is for livestock watering, especially for protection of pond and stream protection, and rotational grazing (Butler, 2014). Solar is an economical alternative to other methods such as windmills, gas and diesel pumps, utility-supplied electrical pumps, and ram pumps. Solar can work in many locations where the sun available and can be used year round. Solar pumps operate on direct current (DC). A benefit of DC voltage over alternating current (AC) is DC pumps can operate on varying voltages and current. When the sun rises in the sky, current begins to climb. When the solar module or array is struck by photons from the ever-increasing solar light (irradiance), more current and voltage is produced. A trickle of water grows to full flow when the sun reaches higher in the sky. A solar-powered water pumping system is an example of a PV-direct energy system. The solar PV module or array is matched to the size of the DC load (submersible pump) (Buschermhole & Burns, 2015). The total voltage and current requirements of pump is determined by calculating factors such as depth of well, rate of flow of water, height (in feet) to pump water, size of well, size of pipe, and distance to tank. Typically, pumped water is stored in a large tank and drawn from to fill stock troughs. A capacity to store water is important when water is needed when the sun is not shining (cloudy conditions). This type of system is simple to setup and maintenance is limited.

How it Works

The purpose of this activity was to develop a hands-on training tool to simulate how a deep water well energized by solar energy operates. A do-it-yourself video on installing a solar photovoltaic (PV) powered submersible pump served as the idea for this project. The video was shown to AGTM 350 students during a lecture session at the start of the project. During the subsequent lab session, students were engaged in the assembly and installation of the well. The next step was to install the pole to serve as support for the silicon PV module, mounting rack, and pump controller. Students measured and cut the pipe and installed with a concrete foundation. The excavation of the hole for the well was completed using a Bobcat Skidsteer with a four foot auger extension. A ten foot deep hole was excavated. During the lab sessions, students worked in groups to unpack and mount the solar PV module on the rack; measure and cut the eight-inch diameter PVC pipe and attach a slip coupler on the open end, and glue on a cap to the bottom end.  The DC submersible pump was prepped by attaching the electrical cable and drop pipe, securing the poly safety rope to the pump and sanitary well seal. After installing the PVC pipe into place, the pump assembly was placed into the pipe. A 1 ½ inch hole was drilled for a bulkhead fitting to connect a galvanized pipe serving as the return line to move water from a water trough back to the well. A ball valve mounted between the trough and the well, controls the rate of flow of water leaving the trough. An electrical box was mounted outside the well head. The electrical wire transitions from the top of the sanitary well seal through flexible water-proof conduit and enters into the electrical box.  The box served to transition the electrical wires from the well to the pump controller. Insulated connectors were used to connect the 10 gauge wires with a ground wire attached to the box. Underground PVC conduit was installed between the electrical box and the pump controller mounted on the pole. Students relied on solar tools to adjust the module tilt and orientation to achieve optimum power performance of the solar module. The connection between the PV module and the pump controller was the last to be made due to the energy potential of the module when exposed to the sun. A digital clamp-on multimeter was used to measure system continuity from the DC pump to the electric box, and to the pump controller. Voltage at the pump controller from the module was measured. Water placed into the trough and allowed to flow through the open valve to the well. A flow control float attached to the safety rope and located above the pump, monitors water level and shuts off the pump when the water level approaches the inlet of the pump.

Results to Date

Funding was made available during summer 2015, and materials for the project were secured before the start of the fall semester. The activity was worked into the course schedule during the solar PV instructional unit. The project was successfully completed by students in the AGTM 350 course over a three-week period during the fall 2015 semester. Students documented the project with pictures taken during lab activities, and submitted written reports describing their roles in the construction, assembly, and installation process. The reports reflect their opinions and knowledge gained from the process. The well project was recently demonstrated to attendees from Project WET attending a solar energy education professional development workshop.

Future Plans

The first of two demonstration projects was installed in fall 2015. The second mock well project will be installed as part of a collaborative activity with the Pima County Cooperative Extension as part of the Tucson Village Garden (TVG) elementary school outreach education program. For future classes, the module will be removed and the submersible pump will be withdrawn from the well. Following a lecture on solar-powered water pumping applications, students will mount and attach the solar module, re-install the pump in the well, make the electrical connections, test the connections with the DC meter, and test the operation of the well. This project can be replicated

Costs/Resources Needed

Tools and materials to complete the project included:

- Ten foot section, eight-inch diameter PVC pipe, cap, coupler, PVC primer & cement (local irrigation supplier)

- DC submersible pump, silicon PV module, pump controller, module mount, cables, float valve, sanitary well seal (www.sunpumps.com)

- 100-gallon poly trough (local farm & ranch supply)

- Poly rope, 1 ½ in galvanized pipe, valve, conduit, bulkhead fittings, electric enclosure, 10 gauge wire, (Grainger.com)

- Schedule 40 gal pipe, concrete mix, auger (campus farm)

Total cost is approximately $2,500.00. The largest expenses are the DC pump, pump controller, and solar module.

References

Bahadori, M. N. (1978). Solar water pumping. Solar Energy 21, 307-16.

Buschermohle, M. J., & Burns, R. T. (2015). Solar-powered water pumping systems, PB 1640, Agricultural Extension Service. The University of Tennessee.

Butler, R. (2014, November/December). Solar-powered water pumping. Home Power Magazine 164, 1-6. Retrieved from http://www.homepowermagazine.com

Lines, J.  (2014, September 15). SCS Submersible Pump Installation. Sun Pumps. Retrieved from http://sunpumps.com/VideoLibrary